## SSCQS-06Rev1
17/11/2019 | 13:00 | .
BILL | PAGE NO | ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | 1 |  | BILL No 1
1 | 1 |  | PRELIMINARIES
1 | 1 |  | PREAMBLE FOR TRADES
1 | 1 |  | The Model Preambles for Trades as published by the Association of South African Quantity Surveyor shall be deemed to be incorporated in these bills of quantities and no claim arising from brevity of description of items fully described in the said Model Preambles for Trades will be entertained.Supplementary preambles to the Model Preambles covering clauses of general nature, clauses pertaining to specific materials and amendments to clauses in the Model Preambles are incorporated in these bills of quantities to satisfy the requirements of this project. The contractor's prices or all items throughout these bills of quantities must take into account of and include for all the obligations, requirements and specifications given in the Model Preambles and in any supplementary preambles
1 | 2 |  | NOTES TO PRELIMINARIES
1
2 | 61 |  | BILL NO 2
2 | 61 |  | DEMOLITIONS AND ALTERATIONS
2 | 61 |  | All material from demolitions will remain the property of the employer, who will have the sole discretion over which material (if any) shall be removed from site. Prior to demolitions, the Principal Agent will point out which material will be removed from site. The contractor shall allow in his rates for removal of all rubble from site
2 | 61 | 1 | Break up and remove existing precast concrete block paving | m2 | 1500 |  | 0
2 | 61 | 2 | Hack up and remove existing asphalt paving and layer works | m2 | 7500 |  | 0
2 | 61 | 3 | Take down existing shade net carports, complete with steel posts, etc | m2 | 250 |  | 0
2 | 61 | 4 | Take out and remove existing precast concrete kerb, complete with concrete backing | m | 4500 |  | 0
2 | 61 | 5 | Demolish existing steel palisade fence with brick piers, complete with posts, foundations, etc | m | 1200 |  | 0
2 | 61 | 6 | Break down and remove existing façade wall approximately 4m high, including digging up and removing concrete foundation (electronic signs to be removed by direct subcontractor) | m | 400 |  | 0
2 | 61 | 7 | Demolish existing informal trading structure, comprising brick walls, concrete columns and shelves and steel and polycarbonate roof sheeting on steel structure, including all foundations, etc | m2 | 750 |  | 0
2 | 61 | 8 | Break up and remove existing concrete open storm water channel 2000mm wide x 85mm thick | m3 | 10 |  | 0
2 | 61 | 9 | Demolish existing single storey Roman's Pizza building, approximately 100m², comprising brick walls, concrete floor, sheet steel roofing on timber or steel roof structure, complete with all doors, windows, etc (Tenderers shall inspect the building on site prior to pricing of this item) | No | 1 |  | 0
2 | 62 | 10 | Demolish existing single storey outbuilding, approximately 90m², comprising brick walls, concrete floor, sheet steel roofing on timber or steel roof structure, complete with all doors, windows, etc (Tenderers shall inspect the building on site prior to pricing of this item) | No | 1 |  | 0
2 | 62 | 11 | Demolish and remove existing building approximately 2625m² in area and approximately 5m high, formed of brick walls and steel roof structure (Tenderers shall inspect the site prior to pricing this item) | No | 1 |  | 0
2 | 62 | 12 | Take down existing lamp post and remove concrete footing | No | 50 |  | 0
2 | 62 | 13 | Take down existing traffic sign and remove concrete footing | No | 10 |  | 0
2
3 | 63 |  | BILL NO 3
3 | 63 |  | EARTHWORKS
3 | 63 |  | Earthworks to comply with the following specifications: SANS 1200 D - Earthworks SANS 1200 C - Site clearance
3 | 63 |  | Nature of ground
3 | 63 |  | A soils investigation has been carried out on the site by the engineer and the report is annexed to these bills of quantities. The soils report indicates that the ground varies between clay, reworked soil of mixed origin and weathered norite, all of which will be deemed as "earth". All very hard unweathered shale, ironstone, etc, the removal of which necessitates the use of explosives or heavy duty hydraulic percussion hammers (peckers), will be classified as "hard rock"
3 | 63 |  | Subterranean water
3 | 63 |  | No subterranean water is currently encountered The contractor should, however be aware that subterranean water may appear after a rainy period
3 | 63 |  | Carting away of excavated material
3 | 63 |  | Descriptions of carting away of excavated material shall be deemed to include loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site
3 | 63 |  | SITE CLEARANCE
3 | 63 |  | Site clearance
3 | 63 | 1 | Digging up and removing rubbish, debris, vegetation, hedges, shrubs, bush, etc and trees not exceeding 200mm girth | m2 | 10000 |  | 0
3 | 63 |  | REMOVAL OF TREES ETC
3 | 64 |  | Taking out and removing, grubbing up roots and filling in holes
3 | 64 | 2 | Tree stump not exceeding 1m high, exceeding 200mm and not exceeding 500mm girth | No | 45 |  | 0
3 | 64 | 3 | Tree stump not exceeding 1m high, exceeding 500mm and not exceeding 750mm girth | No | 15 |  | 0
3 | 64 |  | BULK EXCAVATION, FILLING, ETC
3 | 64 |  | EARTHWORKS
3 | 64 |  | EXCAVATIONS ETC
3 | 64 |  | Digging up topsoil
3 | 64 | 4 | Digging up topsoil to an average depth of 150mm and preserving for use as filling (if suitable as instructed by the Principal Agent) | m3 | 6158 |  | 0
3 | 64 |  | Bulk excavations
3 | 64 | 5 | Bulk excavation in earth not exceeding 2m deep to reduce levels over the site and dumped onto spoil heaps on site | m3 | 33063 |  | 0
3 | 64 | 6 | Rip, scarify for a depth of 150mm and re-compact existing in-situ material to 90% mod AASHTO @ ± 2% of optimum moisture content (boulders not exceeding 150mm in size to be removed or broken down with a suitable grid roller) | m2 | 10000 |  | 0
3 | 64 | 7 | Extra over bulk excavation in earth for excavation in soft rock | m3 | 1322 |  | 0
3 | 64 | 8 | Extra for bulk excavation in earth for excavation in hard rock | m3 | 5500 |  | 0
3 | 64 |  | Extra over all excavations for carting away
3 | 64 | 9 | Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor, including 2km free haul | m3/km | 5000 |  | 0
3 | 65 |  | FILLING
3 | 65 | 10 | Filling from the stockpiles on site to make up levels, in 150mm thick layers, compacted to 90% mod AASHTO at optimum moisture content | m3 | 3000 |  | 0
3 | 65 | 11 | Imported G7 material in compliance with the specifications as set out on drawing No 20793-010, in 150mm layers, compacted to 93% mod AASHTO at ± 2% of optimum moisture content | m3 | 7500 |  | 0
3 | 65 |  | TESTING MATERIALS AND WORKMANSHIP
3 | 65 |  | Other special tests requested by the Principal Agent
3 | 65 | 12 | Other special tests requested by the Principal Agent | Item | 1 | 200000 | 200000
3 | 65 | 13 | Profit and attendance | %
3
4 | 66 |  | BILL NO 4
4 | 66 |  | RETAINING WALLS
4 | 66 |  | EARTHWORKS
4 | 66 |  | Excavations
4 | 66 | 1 | Excavation in earth not exceeding 2m deep for surface trenches | m3 | 1578 |  | 0
4 | 66 | 2 | Excavation in earth exceeding 2 and not exceeding 4m deep for surface trenches | m3 | 725 |  | 0
4 | 66 | 3 | Extra over excavation in earth for excavation in soft rock | m3 | 451 |  | 0
4 | 66 | 4 | Extra over excavation in earth for excavation in hard rock | m3 | 225 |  | 0
4 | 66 | 5 | Excavate back vertical side of excavation for placing and removal of formwork, exceeding 2 and not exceeding 4m deep | m2 | 750 |  | 0
4 | 66 | 6 | Rip bottom of surface trench excavation 150mm deep, scarify and re-compact to 93% mod AASHTO density at optimum moisture content | m2 | 935 |  | 0
4 | 66 |  | Sundries
4 | 66 | 7 | Risk of collapse of sides of excavations not exceeding 1.5m deep | m2 | 1259 |  | 0
4 | 66 |  | Filling
4 | 66 | 8 | Selected earth filling from the stockpiles on site in backfilling behind retaining walls | m3 | 375 |  | 0
4 | 66 |  | CONCRETE, FORMWORK AND REINFORCEMENT
4 | 66 |  | CONCRETE
4 | 66 |  | 30MPa reinforced concrete in
4 | 66 | 9 | Foundation under walls cast against excavated faces | m3 | 332 |  | 0
4 | 66 | 10 | Retaining wall | m3 | 280 |  | 0
4 | 67 |  | FORMWORK
4 | 67 | 11 | Formwork to sides of retaining wall | m2 | 1425 |  | 0
4 | 67 |  | REINFORCEMENT
4 | 67 |  | High tensile reinforcement in
4 | 67 | 12 | Concrete retaining walls and foundations | t | 36.6 |  | 0
4 | 67 |  | MASONRY
4 | 67 |  | BRICKWORK
4 | 67 |  | Brickwork of clay bricks with a minimum compressive strength of 14MPa in 1:5 cement mortar
4 | 67 | 13 | One brick wall | m2 | 238 |  | 0
4 | 67 |  | Semi-face brickwork of approved semi-face bricks and pointed with square recessed horizontal and vertical joints
4 | 67 | 14 | Extra over ordinary brickwork for semi-face brickwork in stretcher bond | m2 | 476 |  | 0
4 | 67 | 15 | Brick-on-edge coping on top of one brick wall, faced and pointed on two sides and on top | m | 350 |  | 0
4 | 67 |  | Extra on coping for
4 | 67 | 16 | Mitred corner | No | 2 |  | 0
4 | 67 | 17 | Stop end | No | 2 |  | 0
4 | 67 |  | Brick reinforcement
4 | 67 | 18 | 150mm Wide fabric brick reinforcement in one brick walls | m | 583 |  | 0
4
5 | 68 |  | BILL NO 5
5 | 68 |  | PLUMBING AND DRAINAGE
5 | 68 |  | All pipework, etc to comply with the following specifications: SANS 1200 LE - Stormwater SANS 1200 L - Medium pressure pipelines SANS 1200 DB - Pipe trenches SANS 1200 LD - Sewers SANS 1200 LB - Bedding
5 | 68 |  | SANS 1200 DB - EARTHWORKS (PIPE TRENCHES)
5 | 68 |  | 8.3.2 (a) Excavate in all materials for trenches, backfill, compact and dispose of surplus material
5 | 68 |  | Pipes up to 700mm dia
5 | 68 | 1 | Up to 1.0m | m3 | 300 |  | 0
5 | 68 | 2 | Over 1.0m up to 2.0m | m3 | 2200 |  | 0
5 | 68 |  | 8.3.2 (b) Extra over item 8.3.2.(a) above for
5 | 68 | 3 | Hard rock excavation | m3 | 200 |  | 0
5 | 68 |  | SANS 1200 LD - SEWERS
5 | 68 |  | 8.2.1 Supply, lay, joint, bed (Class B for rigid pipes) and test pipelines
5 | 68 | 4 | 110mm Diameter uPVC pipes class 400 heavy duty | m | 1300 |  | 0
5 | 68 | 5 | 160mm Diameter uPVC pipes class 400 heavy duty | m | 600 |  | 0
5 | 68 | 6 | 375mm Diameter concrete pipe class 100D | m | 50 |  | 0
5 | 68 |  | 8.2.2 Extra over item 8.2.1 for specials
5 | 68 |  | Cleaning eyes complete with junction, bend, end-cap and box and lid
5 | 68 | 7 | 110mm Diameter | No | 15 |  | 0
5 | 69 | 8 | 160mm Diameter | No | 10 |  | 0
5 | 69 |  | Lateral connections of 110mm dia uPVC pipes, complete with inspection eyes
5 | 69 | 9 | 110mm Diameter | No | 15 |  | 0
5 | 69 | 10 | 160mm Diameter | No | 10 |  | 0
5 | 69 |  | Inspection eyes complete
5 | 69 | 11 | 110mm Diameter | No | 15 |  | 0
5 | 69 |  | MANHOLES, INSPECTION CHAMBERS, ETC
5 | 69 |  | 8.2.3 Manholes (see drawing No 20793-120) excluding manhole covers
5 | 69 | 12 | 1000mm Diameter manhole not exceeding 1,5m deep | No | 2 |  | 0
5 | 69 | 13 | 1000mm Diameter manhole exceeding 1,5 and not exceeding 2m deep | No | 5 |  | 0
5 | 69 | 14 | 1000mm Diameter manhole exceeding 2m deep | No | 5 |  | 0
5 | 69 | 15 | 1250mm Diameter manhole not exceeding 1,5m deep | No | 5 |  | 0
5 | 69 | 16 | 1250mm Diameter manhole exceeding 1,5 and not exceeding 2m deep | No | 3 |  | 0
5 | 69 | 17 | 1250mm Diameter manhole exceeding 2m deep | No | 2 |  | 0
5 | 69 |  | Manhole covers
5 | 69 | 18 | 560mm B125 | No | 4 |  | 0
5 | 69 | 19 | 560mm C250 | No | 3 |  | 0
5 | 69 | 20 | 560mm D400 | No | 3 |  | 0
5 | 69 |  | CONNECTIONS, ETC
5 | 69 |  | 8.2.11 Connecting to existing sewer at
5 | 69 | 21 | Existing manhole on 160mm diameter sewer line | No | 1 |  | 0
5 | 70 | 22 | Existing manhole on 375mm diameter sewer line | No | 1 |  | 0
5 | 70 |  | CLEANING OF SEWERAGE RETICULATIONS
5 | 70 |  | PLD 8.2.14 Mechanical cleaning of sewer pipes and structures
5 | 70 | 23 | Up to 200mm diameter | m | 350 |  | 0
5 | 70 | 24 | Exceeding 200 and up to 375mm diameter | m | 350 |  | 0
5 | 70 |  | PLD 8.2.15 CCTV inspection of sewer pipes
5 | 70 | 25 | Up to 200mm diameter | m | 350 |  | 0
5 | 70 | 26 | Exceeding 200 and up to 375mm diameter | m | 350 |  | 0
5 | 70 |  | SANS 1200 LB - BEDDING (PIPE)
5 | 70 |  | Provision of bedding from trench excavation
5 | 70 | 27 | Selected granular material | m3 | 500 |  | 0
5 | 70 | 28 | Selected fill material | m3 | 300 |  | 0
5 | 70 |  | Supply only of bedding by importation from commercial sources
5 | 70 | 29 | Selected granular material | m3 | 100 |  | 0
5 | 70 | 30 | Selected fill material | m3 | 50 |  | 0
5 | 70 |  | STORMWATER DRAINAGE
5 | 70 |  | COLTO ITEM 17.00 - CLEARING AND GRUBBING
5 | 70 | 31 | COLTO ITEM 17.01 Clearing and grubbing | ha | 0.2 |  | 0
5 | 70 | 32 | COLTO ITEM 17.04 Clearing and grubbing at inlets and outlets of hydraulic structures | m2 | 1300 |  | 0
5 | 70 |  | COLTO ITEM 17.05 Cleaning out of hydraulic structures
5 | 70 | 33 | COLTO ITEM 17.05 (c) Box culverts up to and including 1,5m vertical dimension | m3 | 150 |  | 0
5 | 71 | 34 | Excavation in earth not exceeding 2m deep for open drains | m3 | 3000 |  | 0
5 | 71 |  | COLTO ITEM 21.00 - DRAINS
5 | 71 | 35 | Excavation in earth exceeding 2 and not exceeding 4m deep for open drains | m3 | 600 |  | 0
5 | 71 |  | COLTO ITEM 21.01 Excavation for open drains
5 | 71 | 36 | Extra over excavation in earth for open drains for excavation in soft rock | m3 | 300 |  | 0
5 | 71 |  | COLTO ITEM 21.01 (a) Excavating soft material situated within the following depths below the surface level
5 | 71 | 37 | COLTO ITEM 21.01 (i) Up to 1.5m | m3 | 3500 |  | 0
5 | 71 | 38 | COLTO ITEM 21.01 (ii) Exceeding 1.5 and up to 3.0m | m3 | 700 |  | 0
5 | 71 | 39 | COLTO ITEM 21.01 (b) Extra over subitem 22.01 (a) for excavation in hard material | m3 | 150 |  | 0
5 | 71 |  | COLTO ITEM 21.18 Excavation for the clearing of existing drainage systems
5 | 71 | 40 | 21.18 (b) Culvert barrels | m3 | 100 |  | 0
5 | 71 | 41 | COLTO ITEM 21.19 Selected backfill material under concrete lined side drains | m3 | 560 |  | 0
5 | 71 |  | COLTO ITEM 22.00 - PREFABRICATED CULVERTS
5 | 71 |  | COLTO ITEM B22.01 Excavation
5 | 71 |  | COLTO ITEM B22.01 (a) Excavating soft material situated with the following depths
5 | 71 | 42 | COLTO ITEM B22.01 (i) Up to 1.5m | m3 | 100 |  | 0
5 | 71 | 43 | COLTO ITEM B22.01 (ii) Exceeding 1.5 and up to 3.0m | m3 | 1000 |  | 0
5 | 71 | 44 | COLTO ITEM B22.01 (a) Extra over subitem 22.01 (a) for excavation in hard material | m3 | 300 |  | 0
5 | 72 | 45 | COLTO ITEM B22.01 (c) Extra over subitem 22.01(a) for excavation by hand as instructed by the principal agent | m3 | 100 |  | 0
5 | 72 |  | COLTO ITEM 22.02 Backfilling
5 | 72 | 46 | COLTO ITEM 22.02 (a) Using the excavated material | m3 | 200 |  | 0
5 | 72 | 47 | COLTO ITEM 22.02 (b) Using imported selected material | m3 | 60 |  | 0
5 | 72 |  | COLTO ITEM 22.03 Concrete pipe culverts
5 | 72 |  | COLTO ITEM 22.03 (b) On class B bedding
5 | 72 | 48 | COLTO ITEM 22.03 (iii) 600mm Diameter | m | 150 |  | 0
5 | 72 | 49 | COLTO ITEM 22.03 (v) 900mm Diameter | m | 60 |  | 0
5 | 72 |  | COLTO ITEM 22.04 Metal and non-metal culverts
5 | 72 |  | COLTO ITEM 22.04 (b) Cutting off bevelled or skew end of culvert
5 | 72 | 50 | COLTO ITEM 22.04 (b) (ii) 600mm Diameter | No | 1 |  | 0
5 | 72 | 51 | COLTO ITEM 22.04 (b) (iii) 900mm Diameter | m | 1 |  | 0
5 | 72 |  | COLTO ITEM 22.05 Portal and rectangular culverts
5 | 72 |  | COLTO ITEM 22.05 (a) Complete with prefabricated floor slab
5 | 72 | 52 | COLTO ITEM 22.05 (a) (i) Culvert size 1200 x 900mm high | m | 60 |  | 0
5 | 72 | 53 | COLTO ITEM 22.05 (a) (ii) Culvert size 1200 x 1200mm high | m | 20 |  | 0
5 | 72 | 54 | COLTO ITEM 22.05 (b) (iii) Culvert size 1800 x 1200mm high | m | 70 |  | 0
5 | 72 |  | COLTO ITEM 22.07 Cast in-situ concrete
5 | 72 | 55 | COLTO ITEM 22.07 (b) Formwork, joints and class U2 surface finish Class 25/19 | m3 | 50 |  | 0
5 | 73 | 56 | COLTO ITEM 22.07 (c) Manholes, class U2 surface finish, Class 25/19 | m3 | 15 |  | 0
5 | 73 | 57 | COLTO ITEM 22.07 (d) Formwork of concrete under subitem 22.07 (C) above U2 | m2 | 20 |  | 0
5 | 73 | 58 | COLTO ITEM 22.08 Concrete backfill for culverts | m3 | 70 |  | 0
5 | 73 |  | COLTO ITEM 22.10 Steel reinforcement
5 | 73 | 59 | COLTO ITEM 22.10 (c) Welded fabric | kg | 1200 |  | 0
5 | 73 |  | COLTO ITEM 22.17 Manholes, catch pits, inlet and outlet structures
5 | 73 |  | COLTO ITEM 22.17 (a) Manholes
5 | 73 |  | Tenderers are referred to the Engineer's detail drawings before pricing these items, to see the full extent and details of the work
5 | 73 |  | COLTO ITEM 22.17 (a) (iii) Brick manholes for drainage constructed on all pipes up to and including inspection chambers as per drawing No GSC-WSP-SITE-DR-FE-FE00
5 | 73 | 60 | (2) 1.0 to 1.5m Deep | No | 10 |  | 0
5 | 73 |  | COLTO ITEM 22.17 (a) (vi) Brick manholes for drainage constructed on 900mm diameter pipes
5 | 73 | 61 | (3) 1.5 to 2mm Deep | No | 2 |  | 0
5 | 73 |  | COLTO ITEM 22.18 Brickwork
5 | 73 | 62 | COLTO ITEM 22.18 (b) 230mm Thick | m2 | 940 |  | 0
5 | 73 | 63 | COLTO ITEM 22.20 Benching | m2 | 32 |  | 0
5 | 73 |  | COLTO ITEM 22.21 Accessories
5 | 73 |  | COLTO ITEM 22.21 (a) Manhole covers including frames
5 | 73 |  | See drawings No 20793-113 and GSC-SITE-DR-FE-FE00
5 | 74 |  | COLTO ITEM 22.27 Reinstating of trenches crossing roads
5 | 74 | 64 | COLTO ITEM 22.27 (a) Selected layers | m2 | 100 |  | 0
5 | 74 | 65 | COLTO ITEM 22.27 (b) Subbase | m2 | 100 |  | 0
5 | 74 | 66 | COLTO ITEM 22.27 (c) Base (including prime coat) | m2 | 100 |  | 0
5 | 74 | 67 | COLTO ITEM 22.27 (d) Bituminous surfacing (including tack coat) | m2 | 100 |  | 0
5 | 74 | 68 | COLTO ITEM 22.27 (e) Kerbing | m | 20 |  | 0
5 | 74 | 69 | COLTO ITEM B22.29 Breaking into existing drainage structures and building in following size - 1200 x 1200mm | No | 2 |  | 0
5 | 74 |  | COLTO ITEM 23.00 - CONCRETE KERBING, CONCRETE CHANNELLING, CHUTES AND DOWNPIPES, AND CONCRETE LININGS FOR OPEN DRAINS
5 | 74 |  | COLTO ITEM 23.07 Trimming of excavations for concrete open-lined drains
5 | 74 | 70 | COLTO ITEM 23.07 (a) In soft material | m2 | 2300 |  | 0
5 | 74 | 71 | COLTO ITEM 23.07 (b) In hard material | m2 | 500 |  | 0
5 | 74 |  | COLTO ITEM 23.08 Concrete lining for open drains
5 | 74 | 72 | COLTO ITEM 23.08 (a) Cast in-situ concrete lining Class 25/19 150mm depth. See drawing Nos 20793-101, 20793-102, 20793-110 and 20793-111 | m3 | 460 |  | 0
5 | 74 | 73 | COLTO ITEM 23.08 (b) Class U2 surface finish to cast in-situ concrete | m2 | 2700 |  | 0
5 | 74 |  | COLTO ITEM 23.09 Formwork to cast in-situ concrete lining for open drains
5 | 74 | 74 | COLTO ITEM 23.09 (a) To sides with formwork on the internal face only | m2 | 210 |  | 0
5 | 74 | 75 | COLTO ITEM 23.09 (c) To ends of slabs | m2 | 150 |  | 0
5 | 75 |  | COLTO ITEM 23.12 Steel reinforcement
5 | 75 | 76 | COLTO ITEM 23.12 (c) Welded steel fabric | kg | 9800 |  | 0
5 | 75 | 77 | COLTO ITEM 23.13 Polyethylene sheeting (0.15mm thick) for concrete-lined open drain | m2 | 360 |  | 0
5 | 75 |  | COLTO ITEM 52.00 GABIONS
5 | 75 | 78 | COLTO ITEM 52.02 Surface preparation for bedding the gabions | m2 | 100 |  | 0
5 | 75 |  | COLTO ITEM 52.03 Gabions
5 | 75 |  | COLTO ITEM 52.03 (c) Galvanised gabion mattresses
5 | 75 |  | COLTO ITEM 52.03 (2) 0.6m Diaphragm spacing, 0.6m long x 2.0m wide
5 | 75 | 79 | COLTO ITEM 52.03 (c) (ii) By 0.3m deep mesh | m3 | 30 |  | 0
5 | 75 | 80 | COLTO ITEM 52.04 Filter fabric | m2 | 100 |  | 0
5 | 75 |  | WATER RETICULATION
5 | 75 |  | SANS 1200 DB - EARTHWORKS (PIPE TRENCHES)
5 | 75 |  | 8.3.2 (a) Excavate in all materials for trenches, backfill, compact and dispose of surplus material
5 | 75 |  | Pipes up to 700mm dia for depths
5 | 75 | 81 | Up to 1,0m | m3 | 1000 |  | 0
5 | 75 | 82 | Over 1,0m to 2m | m3 | 120 |  | 0
5 | 75 |  | 8.3.2 (b) Extra over item 8.3.2 (a) above for
5 | 75 | 83 | Hard rock excavation | m3 | 20 |  | 0
5 | 75 | 84 | 8.3.2 (c) Excavation and disposal of unsuitable material form trench bottom | m3 | 75 |  | 0
5 | 76 |  | Excavation ancillaries
5 | 76 | 85 | 8.3.3.3 Compaction in road reserves | m3 | 560 |  | 0
5 | 76 |  | SANS 1200L - Medium pressure pipe lines
5 | 76 |  | 8.2.1 Supply, lay and bed pipes complete with couplings
5 | 76 | 86 | 50mm HDPE pipe (PE 100 PN12.5) | m | 160 |  | 0
5 | 76 | 87 | 63mm HDPE pipe (PE 100 PN12.5) | m | 60 |  | 0
5 | 76 | 88 | 75mm HDPE pipe (PE 100 PN12.5) | m | 60 |  | 0
5 | 76 | 89 | 80mm HDPE pipe (PE 100 PN12.5) | m | 90 |  | 0
5 | 76 | 90 | 90mm HDPE pipe (PE 100 PN12.5) | m | 60 |  | 0
5 | 76 | 91 | 110mm HDPE pipe (PE 100 PN12.5) | m | 1150 |  | 0
5 | 76 | 92 | 110mm uPVC (Class 12) | m | 80 |  | 0
5 | 76 | 93 | 160mm HDPE pipe (PE 100 PN12.5) | m | 120 |  | 0
5 | 76 | 94 | 160mm uPVC (Class 12) | m | 80 |  | 0
5 | 76 |  | 8.2.2 Extra over item 8.2.1 for the supplying, laying and bedding of specials complete with couplings
5 | 76 |  | T-pieces
5 | 76 | 95 | Equal (90 x 90) HDPE (PE100 PN12.5) | No | 1 |  | 0
5 | 76 | 96 | Equal (75 x 75) HDPE (PE100 PN12.5) | No | 1 |  | 0
5 | 76 | 97 | Equal (63 x 63) HDPE (PE100 PN12.5) | No | 1 |  | 0
5 | 76 | 98 | Equal (50 x 50) HDPE (PE100 PN12.5) | No | 1 |  | 0
5 | 76 | 99 | Equal (110 x 110) HDPE (PE100 PN12.5) | No | 4 |  | 0
5 | 76 | 100 | Equal (160 x 160) HDPE (PE100 PN12.5) | No | 2 |  | 0
5 | 76 | 101 | Reducing (90 x 75) HDPE (PE100 PN12.5) | No | 1 |  | 0
5 | 77 | 102 | Reducing (75 x 63) HDPE (PE100 PN12.5) | No | 1 |  | 0
5 | 77 | 103 | Reducing (63 x 50) HDPE (PE100 PN12.5) | No | 1 |  | 0
5 | 77 | 104 | Reducing (110 x 50) HDPE (PE100 PN12.5) | No | 3 |  | 0
5 | 77 |  | Hydrant T-pieces for
5 | 77 | 105 | Reducing (110 x 80) HDPE (PE100 PN12.5) | No | 11 |  | 0
5 | 77 |  | Reducer
5 | 77 | 106 | Reducing (110 x 80) HDPE (PE100 PN12.5) | No | 1 |  | 0
5 | 77 |  | 90° Bends
5 | 77 | 107 | 50 Dia HDPE (PE100 PN12.5) | No | 2 |  | 0
5 | 77 | 108 | 63 Dia HDPE (PE100 PN12.5) | No | 2 |  | 0
5 | 77 | 109 | 75 Dia HDPE (PE100 PN12.5) | No | 2 |  | 0
5 | 77 | 110 | 80 Dia HDPE (PE100 PN12.5) | No | 12 |  | 0
5 | 77 | 111 | 90 Dia HDPE (PE100 PN12.5) | No | 2 |  | 0
5 | 77 | 112 | 110 Dia HDPE (PE100 PN12.5) | No | 4 |  | 0
5 | 77 | 113 | 110 Dia uPVC (Class 12) | No | 2 |  | 0
5 | 77 | 114 | 160 Dia HDPE (PE100 PN12.5) | No | 4 |  | 0
5 | 77 | 115 | 160 Dia uPVC (Class 12) | No | 2 |  | 0
5 | 77 |  | VALVES, ETC
5 | 77 |  | 8.2.3 Extra over item 8.2.1 for supplying, fixing and bedding of valves
5 | 77 |  | Flanged, resilient seal gate valves with flange adaptors on either side, complete with washers, bolts, nuts and gaskets (PN16)
5 | 77 | 116 | DN80 Valve | No | 1 |  | 0
5 | 77 | 117 | DN100 Valve | No | 1 |  | 0
5 | 78 | 118 | DN150 Valve | No | 1 |  | 0
5 | 78 |  | Stainless steel ball valves
5 | 78 | 119 | DN50 Valve | No | 1 |  | 0
5 | 78 |  | 8.2.11 Anchor/Thrust blocks and pedestals as per drawing No FP18
5 | 78 | 120 | 25/19 Concrete | m3 | 1 |  | 0
5 | 78 | 121 | Formwork | m2 | 30 |  | 0
5 | 78 |  | 8.2.13 Valve and hydrant chambers, etc
5 | 78 | 122 | 470 x 350mm Precast concrete valvebox (Salberg or equivalent) | No | 3 |  | 0
5 | 78 | 123 | PSL 8.2.16 Supply and install fire hydrant complete as per drawing No FP18. Description "Ø100 Pillar type fir hydrant with Stortz coupling" excluding Hydrant T-piece | No | 11 |  | 0
5 | 78 |  | 8.2.17 Connection to existing water main complete with all fittings as per drawing No GSC-WSP-SITE-DR-FE-FE00
5 | 78 | 124 | 160mm Diameter | No | 1 |  | 0
5 | 78 | 125 | PSL 8.2.18 Hydraulic field-testing of pipelines irrespective of type or class | m | 1780 |  | 0
5 | 78 |  | PSL 8.2.19 Cutting, preparation and butt welding/electrufusion of joints in pipeline
5 | 78 | 126 | 80mm HDPE pipe (PE100 PN12.5) | No | 30 |  | 0
5 | 78 | 127 | 90mm HDPE pipe (PE100 PN12.5) | No | 10 |  | 0
5 | 78 | 128 | 110mm HDPE pipe (PE100 PN12.5) | No | 100 |  | 0
5 | 78 | 129 | 160mm HDPE pipe (PE100 PN12.5) | No | 30 |  | 0
5 | 78 |  | SANS 1200LB - BEDDING (PIPE)
5 | 78 |  | Provision of bedding from trench excavation
5 | 78 | 130 | Selected granular material | m3 | 120 |  | 0
5 | 79 | 131 | Selected fill material | m3 | 460 |  | 0
5 | 79 |  | SANS 1200 LF - ERF CONNECTION (WATER)
5 | 79 |  | 8.2.2 Supply, lay and test erf connections
5 | 79 | 132 | 160mm uPVC (Class 12) | m | 5 |  | 0
5 | 79 |  | 8.2.3 Extra over item 8.2.2 for specials
5 | 79 |  | Item 2
5 | 79 | 133 | 150mm Dia Flanged isolating valve | No | 5 |  | 0
5 | 79 |  | Item 5
5 | 79 | 134 | 100mm Dia Pillar type hydrant with Stortz coupling | No | 2 |  | 0
5 | 79 |  | Item 6
5 | 79 | 135 | 150mm Dia Flanged non-return valve | No | 2 |  | 0
5 | 79 |  | Item 7
5 | 79 | 136 | 150mm Dia Twin booster connection with 2500kPa pressure gauge | No | 1 |  | 0
5 | 79 |  | Item 10
5 | 79 | 137 | 150mm Dia Flanged strainer | No | 1 |  | 0
5 | 79 |  | 8.2.4 Supply and install meters complete with couplings
5 | 79 | 138 | 150mm Diameter | No | 1 |  | 0
5
6 | 80 |  | BILL NO 6
6 | 80 |  | ROADS AND PARKING
6 | 80 |  | The document "Standard Specifications for Roads and Bridge Works for State Authorities" as prepared and drafted by COLTO (Committee of Land Transport Officials) date 3 March 1998, although not included, shall be deemed to form part of these Bills of Quantities. Tenderers shall acquaint themselves with the content of this document, as no claims in this regard will be entertained
6 | 80 |  | Deviations, omissions or additions to this document are listed in the document "COLTO Series 1000 - General, Section B1200 - General Requirements and Provisions" in the back of these Bills of Quantities and must be read together with the descriptions in these Bills of Quantities Tenderers must ensure that this document is included with the Bills of Quantities |  | 0 |  | 0
6 | 80 |  | The items in this Bill of Quantities are measured in accordance with the COLTO document and may differ from the Standard System of Measuring Building Work in South Africa
6 | 80 |  | Where a unit is described as "RO", it is a "rate only" item and no quantity is measured against the item, however the rate shall be inserted Where a unit is described as "MD", it is "man day"
6 | 80 |  | Construction of Entrances to the Shopping Centre The construction of all the civil works to the shopping centre entrances has been measured out in full herein (the bill of quantities). This work may be omitted in part or in full or deferred and tenderers must make provision for this as no additional claim in this regard will be entertained
6 | 81 |  | SECTION 1200: CONTRACTOR'S GENERAL REQUIREMENTS AND CONDITIONS
6 | 81 | 1 | 12.01 Allow for the installation of LED technology traffic signals | Item | 1 |  | 0
6 | 81 |  | SECTION 1500: ACCOMMODATION OF TRAFFIC
6 | 81 |  | COLTO ITEM 15.01 Accommodating traffic and maintaining temporary deviations
6 | 81 | 2 | 15.01 (a) On the route | km | 1 |  | 0
6 | 81 | 3 | 15.01 (b) On the cross roads | km | 1 |  | 0
6 | 81 |  | COLTO ITEM 15.03 Temporary traffic control facilities
6 | 81 | 4 | 15.03 (a) Flag-men | MD | 150 |  | 0
6 | 81 | 5 | 15.03 (b) Amber flicker lights | No | 2 |  | 0
6 | 81 |  | COLTO ITEM 15.03 (e) Road signs - R and TR series
6 | 81 | 6 | 15.03 (i) 1200mm Diameter | No | 10 |  | 0
6 | 81 |  | COLTO ITEM 15.O3 (g) Road signs - TW series with distance board
6 | 81 | 7 | 15.03 (i) 1500mm Diameter | RO
6 | 81 | 8 | 15.03 (g) Road signs, STW-, DTG-, TGS- and TG-series (excluding delineators and barricades) | m2 | 10 |  | 0
6 | 81 |  | COLTO ITEM 15.03 (h) Delineators (TW401, TW402)
6 | 81 | 9 | 15.03 (i) Single, size 800 x 200mm | No | 100 |  | 0
6 | 81 | 10 | 15.03 (i) Movable barricade/road sign combination | No | 2 |  | 0
6 | 81 | 11 | 15.03 (m) Two-way communication device | No | 2 |  | 0
6 | 82 |  | COLTO ITEM 15.14 Provision of traffic safety equipment for use by the Principal Agent
6 | 82 | 12 | 15.14 (a) Safety jacket | No | 4 |  | 0
6 | 82 | 13 | 15.14 (b) Safety hat | No | 4 |  | 0
6 | 82 | 14 | 15.14 (c) Traffic safety officer | Month | 2 |  | 0
6 | 82 |  | SECTION 1700: CLEARING AND GRUBBING
6 | 82 | 15 | COLTO ITEM 17.01 Clearing and grubbing | ha | 2 |  | 0
6 | 82 |  | COLTO ITEM 17.02 Removal and grubbing of large trees
6 | 82 | 16 | 17.02 (a) Girth exceeding 1m up to and including 2m | No | 20 |  | 0
6 | 82 | 17 | 17.02 (b) Girth exceeding 2m up to and including 3m | No | 10 |  | 0
6 | 82 |  | COLTO ITEM B17.07 Removal and temporary stockpiling of topsoil
6 | 82 | 18 | B17.07 (a) In wind rows alongside the work area | m3 | 500 |  | 0
6 | 82 | 19 | B17.07 (b) In temporary stockpiles on site | m3 | 2000 |  | 0
6 | 82 |  | SECTION 2300: CONCRETE KERBING, CHANNELLING, SHUTES AND DOWN PIPES AND LININGS FOR OPEN DRAINS
6 | 82 |  | COLTO ITEM B23.01 Precast concrete kerbs
6 | 82 | 20 | B23.01 (a) Figure 3 mountable kerb with 25MPa x 19mm stone concrete joint backing (see drawing No 20793-071) | m | 5500 |  | 0
6 | 82 |  | SECTION 3300: MASS EARTHWORKS
6 | 82 |  | COLTO ITEM 33.01 Cut and borrow to fill, including free haul up to 0.5km
6 | 82 |  | Material in compacted layer thicknesses not exceeding 200mm
6 | 82 | 21 | 33.01 (i) Compacted in 150mm layers to 93% mod AASHTO density | m3 | 21500 |  | 0
6 | 83 |  | COLTO ITEM 33.03 Extra over item 33.01 for excavating and breaking down material in
6 | 83 | 22 | 33.03 (b) Hard excavation | m3 | 5000 |  | 0
6 | 83 | 23 | 33.03 (d) Boulder excavation class B | m3 | 1500 |  | 0
6 | 83 |  | COLTO ITEM 33.04 Cut to spoil, including free haul up to 0.5km, material obtained from
6 | 83 | 24 | 33.04 (a) Soft excavation | m3 | 30100 |  | 0
6 | 83 | 25 | 33.04 (b) Intermediate excavation | m3 | 28000 |  | 0
6 | 83 | 26 | 33.04 (c) Hard excavation | m3 | 10500 |  | 0
6 | 83 | 27 | (33.04 (d) Boulder excavation class A | m3 | 3500 |  | 0
6 | 83 |  | COLTO ITEM 33.06 Variations in the number of roller passes (applicable to subsubitems 33.01(a)(iii) and 33.01(b)(iii) and item 33.11)
6 | 83 | 28 | 33.06 (a) Vibratory rollers - m²-pass | RO
6 | 83 | 29 | 33.06 (f) Pneumatic tyred rollers m²-pass | RO
6 | 83 |  | COLTO ITEM 33.07 Removal of unsuitable material (including free haul of 0.5km)
6 | 83 |  | COLTO ITEM 33.07 (a) In layer thicknesses of 200mm and less
6 | 83 | 30 | 33.07 (a)(ii) Unstable material | m3 | 3000 |  | 0
6 | 83 |  | COLTO ITEM 33.07 (b) In layer thicknesses exceeding 200mm
6 | 83 | 31 | 33.07 ((b)(ii) Unstable material | m3 | 3000 |  | 0
6 | 83 |  | COLTO ITEM B33.1 Roadbed preparation and compaction of material
6 | 83 | 32 | B33.1 (a) Compaction to 93% of modified AASHTO density | m3 | 16620 |  | 0
6 | 83 | 33 | B33.1 (b) Extra over for restricted areas | m3 | 1000 |  | 0
6 | 84 |  | COLTO ITEM B33.11 Three-roller-passes compaction
6 | 84 | 34 | 33.11 (a) Vibratory roller | m2 | 55400 |  | 0
6 | 84 | 35 | B33.11 (i) Extra over for restricted areas | m2 | 1000 |  | 0
6 | 84 | 36 | B33.11 (f) Pneumatic-tyred roller | m2 | 55400 |  | 0
6 | 84 | 37 | B33.11 (i) Extra over for restricted areas | m2 | 1000 |  | 0
6 | 84 |  | COLTO ITEM 33.12 In-situ treatment of roadbed
6 | 84 | 38 | 33.12 (a) In-situ treatment by ripping | m3 | 55400 |  | 0
6 | 84 | 39 | 33.12 (b) In-situ treatment by blasting | m3 | 11080 |  | 0
6 | 84 |  | COLTO ITEM 33.13 Finishing-off cut-and-fill slopes, medians and interchange areas
6 | 84 | 40 | 33.13 (a) Cut slopes | m2 | 2000 |  | 0
6 | 84 | 41 | 33.13 (b) Fill slopes | m2 | 4000 |  | 0
6 | 84 |  | COLTO ITEM 33.14 Extra over item 33.01 for excavating materials from the pavements and fills of existing roads
6 | 84 | 42 | 33.14 (a) Non-cemented material | m3 | 31700 |  | 0
6 | 84 | 43 | 33.15 Extra over item 33.14 for excavating in pavements and fills of existing roads in restricted areas | m3 | 6400 |  | 0
6 | 84 |  | COLTO ITEM B33.2 Fill constructed from material obtained from commercial sources provided by the contractor, including all haul
6 | 84 |  | COLTO ITEM B 33.20 (a) Gravel material (min G8) in compacted layer thicknesses not exceeding 200mm
6 | 84 | 44 | B33.20 (i) Compacted to 93% of modified AASHTO density in 150mm layers | m3 | 7500 |  | 0
6 | 85 |  | COLTO ITEM B33.21 Fill constructed with material obtained from temporary (not designated) stockpiles or directly from existing pavement layers and existing road prisms, irrespective of material type, including all haul
6 | 85 |  | COLTO ITEM B33.21 (a) Gravel material (min G8) in compacted layer thicknesses not exceeding 200mm
6 | 85 | 45 | B33.21 (i) Compacted to 93% of modified AASHTO density in 150mm layers | m3 | 13000 |  | 0
6 | 85 | 46 | B33/32.06 Stockpiling of material | m3 | 34400 |  | 0
6 | 85 |  | COLTO ITEM B33/B34.15 Supply and install soil reinforcement using geocomposites
6 | 85 | 47 | B33/B34.15 (a) TriaAx TX 160 geogrid (or similar) | m2 | 55400 |  | 0
6 | 85 | 48 | B33/B34.15 (b) Grade A3 bidim (or similar) | m2 | 55400 |  | 0
6 | 85 |  | COLTO ITEM 56.00 SECTION 5600: ROAD SIGNS
6 | 85 |  | COLTO ITEM B56.01 Road sign boards with painted or coloured semi-mat background. Symbols, lettering and borders in semi-mat black or in class 1 retro-reflective material where the signboard is constructed from
6 | 85 | 49 | B56.01 (a) 2mm Thick aluminium sheet not exceeding 2m² in area | m2 | 1 |  | 0
6 | 85 | 50 | B56.01 (ii) 2mm Thick aluminium sheet exceeding 2 and not exceeding 10m² in area | m2 | 20 |  | 0
6 | 85 |  | COLTO ITEM 56.03 Road sign supports (overhead road sign structures excluded)
6 | 85 | 51 | 56.03 (a) Steel tubing | t | 1 |  | 0
6 | 85 | 52 | 56.05 Excavation and backfilling for road sign supports | m3 | 2 |  | 0
6 | 85 | 53 | 56.06 Extra over item 56.05 for cement-treated soil backfill | m3 | 1 |  | 0
6 | 85 | 54 | 56.07 Extra over item 56.05 for rock excavation | m3 | 1 |  | 0
6 | 86 |  | COLTO ITEM 34,00 SECTION 3400: PAVEMENT LAYERS OF GRAVEL MATERIAL
6 | 86 |  | B34.14 Pavement layers constructed from commercial sources or approved sources provided by the contractor, including all haul
6 | 86 |  | B 34.14 (A) Gravel selected layer (G7) compacted to
6 | 86 | 55 | B34.14 (a) (ii) 95% Of modified AASHTO density for a compacted layer thickness of 600mm (constructed 150mm lifts) | m3 | 33300 |  | 0
6 | 86 |  | B34.14 (b) Gravel subbase of chemically stabilised material in compacted to
6 | 86 |  | B34.14 (d) (ii) 97% Of modified AASHTO density for a compacted layer thickness of 150mm
6 | 86 | 56 | B34.14 (d) (ii) (1) C3 Subbase stabilised layer of G5 parent material | m3 | 3200 |  | 0
6 | 86 | 57 | B34.14 (d) (ii) (2) C4 Subbase stabilised layer of G6 parent material | m3 | 4600 |  | 0
6 | 86 |  | B34.14 (d) (iv) 97% Of modifies AASHTO density for a compacted layer thickness of 125mm
6 | 86 | 58 | B34.14 (d) (iv) (1) C4 Subbase stabilised layer of G6 parent material | m3 | 500 |  | 0
6 | 86 |  | COLTO ITEM 35.00 SECTION 3500: STABILISATION
6 | 86 |  | B35.01 Chemical stabilisation extra over non-stabilised compacted layers
6 | 86 |  | B35.01 (c) Gravel subbase
6 | 86 | 59 | B35.01 (c) (i) Subbase layer (97% Mod AASHTO density) extra over subitem B31.14(d)(ii)(1), 150mm thickness | m3 | 3200 |  | 0
6 | 86 | 60 | B35.01 (c) (ii) Subbase layer (97% Mod AASHTO density) extra over subitem B31.14(d)(ii)(2), 150mm thickness | m3 | 4600 |  | 0
6 | 87 | 61 | B35.01 (c) (iii) Subbase layer (97% Mod AASHTO density) extra over subitem B31.14(d)(iv)(1), 150mm thickness | m3 | 0 |  | 0
6 | 87 |  | B35.02 Chemical stabilising agent
6 | 87 | 62 | B35.02 (a) CEM II 32.5N | t | 600 |  | 0
6 | 87 | 63 | B35.02 (c) Road lime | RO
6 | 87 | 64 | B35.04 Provision and application of water for curing | kl | 1500 |  | 0
6 | 87 | 65 | B35.05 Curing by covering with the subsequent layer | m2 | 55400 |  | 0
6 | 87 |  | B35.10 Extra over item 35.01 for working in restricted areas
6 | 87 | 66 | B35.10 (b) In-situ mixing | m3 | 1000 |  | 0
6 | 87 | 67 | B35.10 (c) Mixing as for in-situ mixing, but on adjacent surfaces | m3 | 400 |  | 0
6 | 87 |  | B35.13 Extra over items 35.01 and 35.07 for trial sections
6 | 87 | 68 | B35.13 (a) Stabilised selected layer | m3 | 500 |  | 0
6 | 87 | 69 | B35.13 (b) Stabilised subbase layer | m3 | 500 |  | 0
6 | 87 |  | COLTO ITE 36.00 SECTION 3600: CRUSHED STONE BASE
6 | 87 |  | B36.01 Crushed-stone base
6 | 87 |  | B36.01 (e) Constructed from type G3 natural material obtained from commercial sources (nominal maximum size of 37.5mm) and compacted to
6 | 87 | 70 | B36.01 (e)(ii) 100% Of modified AASHTO density, 150mm thicklayer | m3 | 4100 |  | 0
6 | 87 | 71 | B36.03 Crushed-stone base trial section 150mm constructed in accordance with the provisions of Clause 3603 | m3 | 500 |  | 0
6 | 88 |  | COLTO ITEM B38.00 SECTION 3800: BREAKING UP EXISTING PAVEMENT LAYERS
6 | 88 |  | B38.01 Excavating and removing existing bituminous material (except milled material)
6 | 88 |  | B38.01 (a) Material intended for recycling with the average depth of excavation
6 | 88 | 72 | B38.01 (a)(ii) Exceeding 30 and not exceeding 60mm a | m2 | 1360 |  | 0
6 | 88 | 73 | B38.01 (a)(iii) Exceeding 60mm | m2 | 1360 |  | 0
6 | 88 |  | B38.10 (b) Material to be disposed of with the average depth of excavation
6 | 88 | 74 | B38.01 (b)(ii) Exceeding 30 and not exceeding 60mm average thickness | m2 | 2000 |  | 0
6 | 88 |  | B38.02 Milling out existing bituminous material with and average milling depth
6 | 88 | 75 | B38.02 (b) Exceeding 30 and not exceeding 60mm | m3 | 1360 |  | 0
6 | 88 | 76 | B38.02 (c) Exceeding 60mm | m3 | 1360 |  | 0
6 | 88 |  | B38.04 Excavating and spoiling material from an existing pavement and/or underlying fill
6 | 88 | 77 | B38.04 (a) Non-cemented material | m3 | 4200 |  | 0
6 | 88 |  | B38.05 Excavating material from an existing pavement and/or underlying fill in restricted areas
6 | 88 | 78 | B38.05 (a) Extra over item 38.01 for bituminous material excavated separately | m3 | 1000 |  | 0
6 | 88 |  | B38.05 (b) Extra over item 38.04 for other existing pavement and/or fill material
6 | 88 | 79 | B38.05 (b)(i) Non-cemented material | m3 | 300 |  | 0
6 | 88 |  | B38.06 Extra over items 38.02 and 38.03 for milling in restricted widths of less than 1.0m
6 | 89 |  | B38.08 Sawing or cutting asphalt or cemented pavement layers:
6 | 89 | 80 | B38.08 (a) Sawing asphalt | m | 3000 |  | 0
6 | 89 | 81 | B38.09 Removing the remaining asphalt from the underlying layer | m2 | 500 |  | 0
6 | 89 |  | COLTO ITEM B39.00 SECTION 3900: PATCHING AND REPAIRING EDGE BREAKS
6 | 89 |  | B39.02 Excavation in existing pavements for patching in
6 | 89 | 82 | B39.02 (a) Asphalt layers | m3 | 50 |  | 0
6 | 89 | 83 | B39.02 (c) Non-cemented layers | m3 | 150 |  | 0
6 | 89 |  | B39.03) Backfilling of excavations for patching with
6 | 89 |  | B39.03 (b) Base material stabilised with bituminous emulsion (G2 material stabilised with 2.5% emulsona and 2% cement) for a patch with a surface area
6 | 89 | 84 | B39.03 (b)(i) Not exceeding 5m² | m2 | 750 |  | 0
6 | 89 | 85 | B39.03 (b)(ii) Exceeding 5 and not exceeding 100m² | m2 | 750 |  | 0
6 | 89 | 86 | B39.03 (b)(iii) Exceeding 100m² | m2 | 1000 |  | 0
6 | 89 | 87 | B39.04 Compacting the floor of excavations for patching | m2 | 500 |  | 0
6 | 89 |  | COLTO ITEM 41.00 SECTION 4100: PRIME COAT
6 | 89 |  | B41.01 Prime coat
6 | 89 | 88 | B41.01 )c) MC-30 Cut-back bitumen (litres) | RO
6 | 89 | 89 | B41.01 (e) Invert bituminous emulsion (MSP1) | l | 21600 |  | 0
6 | 89 | 90 | B41.01 (e) Aggregate for blinding | m2 | 1100 |  | 0
6 | 90 | 91 | B41.03 Extra over prime coat for applying to areas accessible to hand held tools only | l | 2200 |  | 0
6 | 90 |  | COLTO ITEM B42.00 SECTION 4200: ASPHALT BASE AND SURFACING
6 | 90 |  | B42.02 Asphalt surfacing (Level 1 PG58 - 22 S-60/70 pen bitumen)
6 | 90 |  | B42.02 (a) Continuously graded course graded
6 | 90 | 92 | B42.02 (4) 40mm Thick | m2 | 32400 |  | 0
6 | 90 | 93 | B42.04 Tack coat of 30% stable-grade emulsion | l | 19440 |  | 0
6 | 90 |  | B42.05 Binder variations
6 | 90 | 94 | B42.05 (a) 60/70 Pen grade bitumen | t | 5 |  | 0
6 | 90 |  | B42.06 Variations in active filler content
6 | 90 | 95 | B42.06 (a) Cement | t | 0.5 |  | 0
6 | 90 | 96 | B42.06 (b) Lime | t | 0.1 |  | 0
6 | 90 |  | B42.07 Trial sections
6 | 90 | 97 | B42.07 (b) 40mm Surfacing | m2 | 500 |  | 0
6 | 90 | 98 | B52.08 100mm Cores in asphalt paving | RO
6 | 90 | 99 | B42.15Application of prime coat and/or tack coat to the edges of a layer | l | 2000 |  | 0
6 | 90 |  | COLTO ITEM B48.00 SECTION 4800: TREATMENT OF EXISTING SURFACE EXHIBITING CERTAIN DEFECTS
6 | 90 |  | B48.06 Repairing edge breaks in surfacing
6 | 90 | 100 | B48.05 (b) Reconstructing edges using medium continuously-graded asphalt | t | 80 |  | 0
6 | 90 | 101 | B48.06 Cleaning the cracks with compressed air | km | 5 |  | 0
6 | 91 |  | B48.07 Applying bituminous binders and herbicides for sealing cracks
6 | 91 | 102 | B48.07 (a) Herbicide | l | 20 |  | 0
6 | 91 | 103 | B48.07 (b) MSP/1 or similar primer | l | 20 |  | 0
6 | 91 | 104 | B48.07 (e) Other specified agents (sealing using class C-E1 modified binder crack sealant) | l | 500 |  | 0
6 | 91 |  | COLTO ITEM B57.00 SECTION 5700: ROAD MARKINGS
6 | 91 |  | B57.01 Road marking paint
6 | 91 |  | B57 .01 (a) White lines (broken or unbroken)
6 | 91 | 105 | B57.01 (a)(1) 100mm Wide | km | 10.5 |  | 0
6 | 91 | 106 | B57.01 (a)(2) 150mm Wide | km | 1.5 |  | 0
6 | 91 | 107 | B57.01 (a)(4) 200mm Wide | km | 0.5 |  | 0
6 | 91 |  | B57.01 (b) Yellow lines (broken or unbroken)
6 | 91 | 108 | B57.01 (b)(1) 150mm Wide | km | 1.5 |  | 0
6 | 91 | 109 | B57.01 (b)(2) White lettering and symbols | m2 | 300 |  | 0
6 | 91 | 110 | B57.01 (b)(f) Transverse lines, painted island and arrestor bed markings (any colour) | m2 | 300 |  | 0
6 | 91 |  | B57.05 Road studs
6 | 91 |  | B57.05 (c) Bi-directional (all colour combinations)
6 | 91 | 111 | B57.05 (c)(1) Ferro Lynx steel body with shank (43 element glass reflective lens) | RO
6 | 91 | 112 | B57.06 Setting out and premarking the lines (excluding traffic island markings, lettering and symbols) | km | 14 |  | 0
6 | 91 |  | COLTO ITEM B59.00 SECTION 5900: FINISHING THE ROAD AND ROAD RESERVE
6 | 92 |  | B59.01 Finishing the road and road reserve
6 | 92 | 113 | B59.01 (b) Single carriageway road | km | 1 |  | 0
6 | 92 |  | COLTO ITEM B71.00 SECTION 7100: CONCRETE PAVEMENTS
6 | 92 |  | B71.02 Concrete pavement excluding texturing and curing
6 | 92 | 114 | B71.02 (a) 170mm Thick dowel jointed concrete pavement (truck route) class 35/26.5 | m2 | 17500 |  | 0
6 | 92 | 115 | B71.02 (b) 150mm Thick plain jointed concrete pavement (taxi rank) class 35/26.5 | m2 | 3750 |  | 0
6 | 92 | 116 | B71.02 (c) 180mm Thick plain jointed concrete pavement (surface beds) class 42/37.5 | m2 | 3750 |  | 0
6 | 92 |  | B71.04 Texturing and curing the concrete pavement
6 | 92 | 117 | B71.04 (a) Burlap-dragged and grooved texture | m2 | 21300 |  | 0
6 | 92 | 118 | B71.04 (b) Curing | m2 | 25000 |  | 0
6 | 92 | 119 | B71.05 Variation in the rate of application of the curing compound | RO
6 | 92 |  | B71.06 Joints
6 | 92 | 120 | B71.06 (a) Expansion joints complete (excluding dowels) | m | 5000 |  | 0
6 | 92 | 121 | B71.06 (c) Sealed transverse contraction joints sawn in two separate operations | m | 2500 |  | 0
6 | 92 |  | B71.06 (d) Dowel bars (350mm long 25mm radius mild steel, placed at 300mm centres
6 | 92 | 122 | B71.06 (d)(i) Installed in new concrete | No | 5000 |  | 0
6 | 92 |  | B71.06 (e) Tie bars (750mm long 16mm diameter mild steel)
6 | 92 | 123 | B71.06 (e)(i) Installed in new concrete | No | 5000 |  | 0
6 | 92 | 124 | B71.06 (f) End caps for dowels at expansion joints | No | 2500 |  | 0
6 | 93 | 125 | B71.06 (g) Forming and sealing the joints between asphalt and concrete pavings | m | 5000 |  | 0
6 | 93 |  | B71.07 Drilling and testing of cores
6 | 93 | 126 | B71.07 (a) 100mm Cores drilled from the pavement | No | 20 |  | 0
6 | 93 |  | COLTO ITEM B73.00 SECTION 7300: CONCRETE BLOCK PAVING FOR ROADS
6 | 93 | 127 | B73.01 Concrete block paving (25MPa, Type 5-A, 60mm) | m2 | 3400 |  | 0
6 | 93 | 128 | B73.02 Cast in-situ concrete edge and intermediate beams (Class 15/38) | m3 | 150 |  | 0
6 | 93 |  | B73.03 Provision of approved herbicide and ant poison
6 | 93 | 129 | B73.03 (A) Provision of materials | Item | 1 | 50000 | 50000
6 | 93 | 130 | B73.03 (b) Contractor's charges and profit added to the prime cost sum | %
6 | 93 |  | COLTO ITEM B81,00 SECTION 8100: TESTING MATERIALS AND WORKMANSHIP
6 | 93 |  | B81.02 Other special tests requested by the Principal Agent
6 | 93 | 131 | B81.02 (a) Other special tests requested by the Principal Agent | Item | 1 | 200000 | 200000
6 | 93 | 132 | B81.02 (b) Profit and attendance | %
6
7 | 94 |  | BILL NO 7
7 | 94 |  | BUDGETARY ALLOWANCES AND PROVISIONAL SUMS
7 | 94 | 1 | Allow the amount of R850 000.00 (eight hundred and fifty thousand Rands) for installation of traffic lights by the Tshwane City Council, which amount will be deducted in part or full if not utilised | Item | 1 | 850000 | 850000
7 | 94 | 2 | Allow the amount of R150 000.00 (one hundred and fifty thousand Rands) for relocation of electrical installation, to be executed by a specialist subcontractor, which amount will be deducted in part or in full if not utilised | Item | 1 | 150000 | 150000
7 | 94 | 3 | Allow the amount of R150 000.00 (one hundred and fifty thousand Rands) for relocation of Telkom installation, to be executed by a specialist subcontractor, which amount will be deducted in part or in full if not utilised | Item | 1 | 150000 | 150000
7 | 94 | 4 | Allow the amount of R5 250 000.00 (five million, two hundred and fifty thousand Rands) for Clearvu, or similar equivalent approved, fencing to be installed by a specialist subcontractor | Item | 1 | 5250000 | 5250000
7 | 94 | 5 | Allow for profit on the above if required | Item | 1 |  | 0
7 | 94 | 6 | Allow for general attendance upon the specialist subcontractor installing the Clearvu fence | Item | 1 |  | 0
7 |  |  |  |  | 0
8 | 95 | 1 | Preliminaries | Page | 60 | 0
8 | 95 | 2 | Demolitions and alterations | Page | 62 | 0
8 | 95 | 3 | Bulk earthworks | Page | 65 | 0
8 | 95 | 4 | Retaining walls | Page | 67 | 0
8 | 95 | 5 | Plumbing and drainage | Page | 79 | 0
8 | 95 | 6 | Roads and parking | Page | 93 | 0
8 | 95 | 7 | Budgetary allowances and provisional sums | Page | 94 | 0
8 | 95 |  | Subtotal | ST | 0 |  | Sub Total
8 | 95 |  | Tax | TAX | 15
941 | MSD ITEMS | 426 | RATE# | 0
ASCII